## INDEX
S.No | Description | Remarks
1 | HW & OS UAT Test Cases
2 | RHEL Cluster Test Cases
3 | Solaris UAT Test Cases
4 | Labeling
5 | Power UAT
6 | SAN Switch UAT
7 | Storage UAT
8 | Network Switch UAT
9 | Firewall UAT
10 | F5 UAT
11
12

## HW & OS UAT Test Cases
S.No | Server Host Name | QTY | Screeshot From ILO
1 | RAM Output
2 | CPU Output
3 | HDD RAID Level
4 | Server Slot No
5 | Chassis No
6 | Server Serial No
7 | NIC's Details
8 | HBA Details
11 | Server Model Type
11 | Output of free –m and lscpu
11 | Df –kh and fdisk –l output
12 | #cat /proc/net/bonding/bond0
13 | Ouput of hostname, uname –a OS release version
14 | Memory, CPU and Disk stress test
INDEX

## SAN Switch UAT
SAN Switch UAT Checklist
S/No. | Test Case | Input Data | Expected Result | Actual Test Results | Required | Status | Artifacts | Remarks
1 | Verify the SAN Switch Hardware Installation. | Verify physically Hardware Installation as per Rack layout | Hardware should me rackmounted as per rack layout recmondation. |  | YES
2 | Verify Fiber Cable connection | Verify the cables Physically | Fiber cable connection should be as per OEM recmondation. |  | YES | YES
3 | Verify User Credential as per client standard | Login with configured user credential. | San switch should login with same credential as per standard |  | YES | YES
4 | Verify secure Remote access of san switch | access GUI with HTTPS and CLI with SSH | SAN Switch should be access with GUI & CLI |  | YES | YES
5 | Verify the san switch port licenses. | Update the licenses. | License Should be updated |  | YES | YES
6 | Verify Zone Configuration | Zoning should be with WWN |  |  | YES | YES
7 | Simulate “failed” SAN SWITCH | • Start continuous I/O on server. • Switch off one power source to SAN Switch. • Make sure the I/O is still running on the host without any problem. PowerPath should show that all paths active and optimal. • Switch off the second power source to same SAN Switch. • Corresponding path should be shown as dead on the hosts connected through this SAN Switch and I/O’s should be redirected to other available paths through different SAN Switch. | Make sure the I/O is still running on the host without any problem. PowerPath/multipath should show that all paths active and optimal. |  | YES | YES
8 | Verify client to SAN connectivity | • Remove one of the Fiber cable from Host Port 1 or Port 2. • Check that there is no disturbance to client connectivity. | Make sure the I/O is still running on the host without any problem. PowerPath/multipath should show that all paths active and optimal. |  | YES | YES
9 | Management Console Testing | Access the Management console with MGMT IP | .MGMT IP should be accessible with CLI & GUI. |  | YES | YES